SECTION IV – FIRE & EXPLOSION DATA/Quarrystone

FLASHPOINT (DEGREES F<PENSKY MARTINS CLOSED CUP)

Product has no flashpoint per Pensky Martins Closed Cup method.

FIRE EXTINGUISHING MEDIA:

Product is considered class “A” type fuel.  Use water, dry chemical, or foam.

FLAMMABLE LIMITS:       LOWER: None      UPPER:    None

SPECIAL FIRE FIGHTING PROCEDURES:

In a sustained fire, self-contained breathing apparatus should be worn.

UNUSAL FIRE & EXPLOSION HAZARDS:

Dust generated from sawing/sanding the product must be stored in a cool dry location away from ignition sources.  Dust is a strong to severe explosion hazard in the event that a dust cloud contacts an ignition source.

HAZOUROUS COMBUSTION PRODUCTS:

Thermal decomposition may release toxic and or/hazardous gases such as carbon monoxide, carbon dioxide, methane, and aldehydes.

